AC system notes

C - common

R - run

S - start

Run-start should equal common-run and common-start ohm reading

Continuity on sensor on top of compressor

His cap was 60 and 5